[image: image1.jpg]~

Site 0 140W Mooring ID PM438
Cruise [ GP2:04- KA =7 Date (GMT) 5/23/2004
Nylon
Nylon Below release Wire SIN 496
Hardware Ln | 9 | wire Length 700
Projected Scope 0.985 Wire Deployment @1rst O2nd
Top Section SN 268
S/N or Poly Length Target Depth
1 E990 | 552 | [ 4356 ]
2 AO31 | 562 | Calculated Cut Length
3 E634 | 580 | [ 5.66
4 | E999 | 572
e E432 | [ 550
Bial E406 | 485 //
7 \‘ cuT ‘l 225 4 /
8 Jo it
9 - -gle= A
10 |l
Total nvion 3526
Mooring length 4285.0 (All Nylon, Nilspin and Hardware)
EG & G Releases
Type SIN Int Freq Reply Freq  Release Disable Enable
Release 1 | 8242 | 015774 | 11.0KHZ 10.0KHZ 532344 - | 536055- | 536076- |
Release 2 | | 532344 - | ]
Anchor Drop Anchor weight 5980
Latitude 00 00.798N Longitude | 139 52.462W
Date 5/23/2004 Time il 3:26 1
Range to Buoy Bearing To Buoy [ ==
Tow Time 0:50 Tow Distance =
Total Time R
Flyby Latitude - Longitude
Buoy 00 00.8N 139 51.6W
Anchor
Uncorrected Depth 4341
Depth Correction +2 (from Matthew's Table)
Transducer Depth o
Corr Depth Final Scope
Meteorological Observation
Date Time  Wind Dir Wind Spd  Air Temp SST SsC RH
(from ) ( kts)
ship [5/23/2004[ 544 | 092 10.1 268 | 2799 | 5586 | 828 |
Buoy |5/23/2004[ 545 | 104 8.8 o7ed e 277 | 561 | Bi4 |

Deployment Comments

.C02.buey. (permanent insert. 3. wells. for COR instrumentation)...Has.tower. with 3 fat legs... Sentinel -]

.4 ntinel.is.exactly. oppesite.the. previously. known. as.fa |
legand pro;ex:m helow.the. tnroxdperhaps 5.inches...Beams.2.and.3.are. pointed.out.hoard....In
deployment. horsesh . uthoard.of its. usual
osition..perhaps. . from.|
.CO2.system.#2.was.deploved. ﬁﬁe bei
large. capacity.battery.deployed.. N
sed.from.recovered.system.





