[image: image1.jpg]Site Mooring ID

Cruise [T epsodkA | | RelFireDate T T e |
Hardware SN Condition
Buoy C303 IOK
& Wire 496 IOK
, Wire Age e ) Numberof GlassBalls [ 0 ]
Tube Logic Transmit Date
Battery Voltage I I I 9/12/2004 ]
Actual Time (GMT) Instr. Time Clock Error
[ 20:04:10 | 20:03:57 [ -0:00:13 |
Nylon/Poly Recovered
Spool SIN Length Condition/Comments
1 E990 552
2 A031 562
3 E634 580 |
4 E999 52 |
5 E432 550 |
6 E406 485 | |
7 | _our 225 |
8 |
9 | |
10 | J I |
Acoustic Releases:
Type SN Recovered ? Release Disable Enable
Release 1 [ 8242 15774 Yes 532344 - 536055- | 536076 -
Release2 | [

Release Problems or Comments

Clock Errors

Are the clock dates all okay? (type yes/no or comment): \ all dates okay
Sensor SN Actual Instr. Clock File Bat. Voltage Comments  Number
Type Date &Time  Date & Time Error Name from Status of Records
(m/d/yr GMT) _ (m/d/yr GMT)
0| SSC | 11135 23:51:00 23:50:44 SSC11135.BIN| 8.08 148
1 - 12417 :53:00 23:52:45 T12417.BIN 8.59 148
2 I 12429 :05 23:56:51 T12429.BIN 8.55 148
3 §iF 12430 :30 00:09:16 T12430.BIN 8.59 148
4 | TCV | 12779 140 00:27:25 TCV12779.BIN| 8.24 134
5 T 12431 :33:30 00:33:15 T12431.BIN 8.55 149
6 T 12472 :40:00 - 00:39:45 T12472.BIN 8.51 149
7 gy 12496 00:43:00 00:42:45 T12496.BIN 8.47 149
8 i 12498 00:45:30 00:45:15 T12498.BIN 8.51 149
9| TP | 13007 00:48:15 00:48:00 TP13007.BIN 8.43 149
10 TP | 13009 00:51:00 00:50:46 TP13009.BIN 8.47 149
13
12 | TCV | 12382 00:16:10 00:15:55 TCV12382.BIN| 8.12 122
13 [Sontek | D138 19:49:00 19:48:49 D138001.000 663138 BYTES
14 | _TCV | 13120 00:54:20 00:54:02 TCV13120.BIN| 8.47 119
15 |Sontek | D69 19:57:30 19:57:31 D61001.BIN 668952 BYTES
16 | _TCV | 13162 01:00:40 01:00:21 TCV13162.BIN| 8.24 134
17 |[Sontek | D101 20:25:15 20:25:29 D101001.BIN 668990 BYTES
18 | _TCV | 12986 01:03:55 01:03:38 TCV12986.BIN| 8.39 123
“a | Sontek | D117 20:35:00 20:34:49 D117001.000 667923 BYTES
Sontek | D129 20:04:30 20:04:16 D129001.000 668952 BYTES
<1 | Sontek | D204 20:15:00 20:14:33 D204001.000 760190 BYTES
22
23 | RDI S$140W000.00 7260367 BYTES,
24
25





