The df files contain continuous, 1-Hz water column

readings for Scripps Pier and Kings Bay from

12/26/2004 00:00:00 to 12/31/2004 23:59:59 UTC.

More sensor details are given below.

There are missing values in the Kings Bay file; these

are recorded as -1.0 in df08301. Neither of the files

has been detrended for tides. The Kings Bay file also

contains some reception-related spikes which have not

been removed.

The sp links return CDIP spectral files concatenated

together, including the file headers.

--------------------------------------------------------------------------------

Name: KINGS BAY, GA

Station: 08301

Channel description: ARRAY

Deployment latitude: 30 43.000' N

Deployment longitude:  81 18.000' W

Water depth(cm):   1494

Sensor elevation from sea floor(cm):    227

Local magnetic variation(deg): 05 W

Data type: Water column (cm)

Gauge type: Paros pressure sensor

Sample rate(Hz): 1.000

Field software version: pressure_acq v1

Field station type: sun

Method of analysis: CDIP

Paros cal_a0:  1200.59400

Paros cal_b0:   644.63670

Paros cal_t0:    27.74134

Radio modem: yes

Energy basin processing: no

Surge filter processing: no

Number of records: 518400

Start time: 20041226000000 UTC

End time:   20041231235959 UTC